{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":40,"n_cols":8,"rows_kept":40,"merged":[[0,0,1,8],[2,1,2,4],[2,6,2,8],[3,1,3,2],[3,4,3,5],[3,7,3,8],[4,1,4,2],[4,4,4,6],[5,1,5,2],[5,4,5,8],[6,0,8,0],[6,1,6,8],[7,1,7,8],[8,1,8,8],[9,6,9,8],[10,7,10,8],[11,6,11,8],[12,1,12,2],[12,3,12,4],[12,5,12,8],[13,1,13,2],[13,3,13,8],[14,0,15,0],[14,1,15,1],[14,2,15,2],[14,3,15,3],[14,4,15,4],[14,5,15,5],[14,6,15,6],[14,7,15,8],[16,0,16,1],[16,2,16,4],[16,7,16,8],[17,0,17,1],[17,2,17,3],[17,4,17,8],[18,0,18,1],[18,2,18,4],[18,5,18,8],[19,1,19,8],[20,1,20,4],[20,5,20,6],[20,7,20,8],[21,1,21,8],[22,1,22,8],[23,0,24,0],[23,1,24,8],[25,0,26,0],[25,1,26,8],[27,0,33,0],[27,1,33,8],[34,0,34,8],[35,0,36,8],[37,0,37,8]],"flags":["formulas_cached_only"]}
["　　　　　　流　量　计　订　货　咨　询　单　　　年　　月　　日"]
[]
["订货单位",{"$nulls":4},"地址"]
["　电　　话",null,null,"传　真",null,null,"联系人"]
["仪表名称",null,null,"型　号",{"$nulls":3},"数　量"]
["介质名称",null,null,"介质状态","　口气体　　　口液体"]
["混合气体组分　　　　　　　　　　体积含量　　　　　％"]
[]
[]
["  管   道","外径 mm",null,"内径 mm",null,"材质"]
["压力(表压/绝压)"," 最大",null,"正常",null,"最低",null," 口MPa 　口kPa"]
["　温度（℃）"," 最高",null,"正常",null,"最低"]
["工作密度kg/m3",null,null,"标准状态密度kg/m3"]
["介质粘度",null,null," 口mPa.s(cP)、 口Pa.s、 口mm2/s(cst)、 m2/s"]
["  流   量"," 最大",null,"正常",null,"最小",null,"口Nm3/h　口m3/h　　口kg/h　口t/h"]
[]
["当地平均大气压(kPa) ",{"$nulls":4},"相对湿度　％"]
["要求压损小于 (kPa)"]
["气体标准状态基准",null," 　口20℃ 101.325kPa",null,null,"  　口0℃ 101.325kPa"]
["要求流量计","　口水平安装　口垂直安装　口地下安装　口室外安装　口室内安装"]
["要求连接方式","　口法兰　口直接焊接 　口法兰夹装　",{"$nulls":3},"导压管尺寸",null,"φ："]
["需要补偿方式","　口温度和压力补偿　口压力补偿　口温度补偿　口无补偿"]
["涡街流量计","　口模拟输出　口脉冲输出　口就地显示  口信号电缆（　　）米"]
["需要的主要辅助部件","　口阀门×4、口冷凝罐×2、集气罐×2、沉降罐×2、口三阀组×1、 口接头  2～4、口仪表保护（温）箱×1"]
[]
["需要配套仪表","口差压变送器、口压力变送器、口测温元件、口温度变送器、口多参数变送器口显示仪表（选项：485接口、壁挂、盘装、打印、数码、液晶、热量）"]
[]
["其他特殊要求（需要注明）"]
[]
[]
[]
[]
[]
[]
["请用户准确填写各参数，这是保证仪表运行的重要步骤。并在选中项划√，否则视为不选。"]
["用户：　　　　　　　　签字　　　　　　　　　　　　公司销售人：　　　　　　　签字"]
[]
["山东飞龙仪表有限公司"]
["公司总部：山东省龙口市高新技术产业园4号路　电话：0535-8619054 传真：0535-8619598"]
["地址：济南市华阳路留学人员创业园1-B306室　电话：0531-88162816 传真：0531-88166556"]

{"sheet":"Sheet2","index":1,"n_rows":40,"n_cols":8,"rows_kept":40,"merged":[[0,0,1,8],[2,1,2,4],[2,6,2,8],[3,1,3,2],[3,4,3,5],[3,7,3,8],[4,1,4,2],[4,4,4,6],[5,1,5,2],[5,4,5,8],[6,0,8,0],[6,1,6,8],[7,1,7,8],[8,1,8,8],[9,6,9,8],[10,7,10,8],[11,6,11,8],[12,1,12,2],[12,3,12,4],[12,5,12,8],[13,1,13,2],[13,3,13,8],[14,0,15,0],[14,1,15,1],[14,2,15,2],[14,3,15,3],[14,4,15,4],[14,5,15,5],[14,6,15,6],[14,7,15,8],[16,0,16,1],[16,2,16,4],[16,7,16,8],[17,0,17,1],[17,2,17,3],[17,4,17,8],[18,0,18,1],[18,2,18,4],[18,5,18,8],[19,1,19,8],[20,1,20,4],[20,5,20,6],[20,7,20,8],[21,1,21,8],[22,1,22,8],[23,0,24,0],[23,1,24,8],[25,0,26,0],[25,1,26,8],[27,0,33,0],[27,1,33,8],[34,0,34,8],[35,0,36,8]],"flags":["formulas_cached_only"]}
["　　　　　　流　量　计　订　货　咨　询　单　　　年　　月　　日"]
[]
["订货单位",{"$nulls":4},"地址"]
["　电　　话",null,null,"传　真",null,null,"联系人"]
["仪表名称",null,null,"型　号",{"$nulls":3},"数　量"]
["介质名称",null,null,"介质状态","　口气体　　　口液体"]
["混合气体组分　　　　　　　　　　体积含量　　　　　％"]
[]
[]
["  管   道","外径 mm",null,"内径 mm",null,"材质"]
["压力(表压/绝压)"," 最大",null,"正常",null,"最低",null," 口MPa 　口kPa"]
["　温度（℃）"," 最高",null,"正常",null,"最低"]
["工作密度kg/m3",null,null,"标准状态密度kg/m3"]
["介质粘度",null,null," 口mPa.s(cP)、 口Pa.s、 口mm2/s(cst)、 m2/s"]
["  流   量"," 最大",null,"正常",null,"最小",null,"口Nm3/h　口m3/h　　口kg/h　口t/h"]
[]
["当地平均大气压(kPa) ",{"$nulls":4},"相对湿度　％"]
["要求压损小于 (kPa)"]
["气体标准状态基准",null," 　口20℃ 101.325kPa",null,null,"  　口0℃ 101.325kPa"]
["要求流量计","　口水平安装　口垂直安装　口地下安装　口室外安装　口室内安装"]
["要求连接方式","　口法兰　口直接焊接 　口法兰夹装　",{"$nulls":3},"导压管尺寸",null,"φ："]
["需要补偿方式","　口温度和压力补偿　口压力补偿　口温度补偿　口无补偿"]
["涡街流量计","　口模拟输出　口脉冲输出　口就地显示  口信号电缆（　　）米"]
["需要的主要辅助部件","　口阀门×4、口冷凝罐×2、集气罐×2、沉降罐×2、口三阀组×1、 口接头  2～4、口仪表保护（温）箱×1"]
[]
["需要配套仪表","口差压变送器、口压力变送器、口测温元件、口温度变送器、口多参数变送器口显示仪表（选项：485接口、壁挂、盘装、打印、数码、液晶、热量）"]
[]
["其他特殊要求（需要注明）"]
[]
[]
[]
[]
[]
[]
["请用户准确填写各参数，这是保证仪表运行的重要步骤。并在选中项划√，否则视为不选。"]
["用户：　　　　　　　　签字　　　　　　　　　　　　公司销售人：　　　　　　　签字"]
[]
["　　　　　　辽　宁　飞　龙　仪　器　仪　表　有　限　公　司"]
["地址：沈阳市浑南新区新络街2号　电话：024-23785988 传真：024-23783854"]
["公司总部：山东省龙口市黄城西环路南段　电话：0535-8619054 传真：0535-8619598"]

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}